## Slide 1
Basic approach:
Use saturation gamma gs ~ w1 (l1l2)1/2
Constraints:
Total grammage << 100 g/cm2
Total length < 4 m
Because high gs  high frequencies,
high w1, high grammage, look at
Compton scattering to the side

## Slide 2
Beam
Radiator 10
Radiator 1
1 cm Xe #1
1 cm Xe #10
1″ BGO
1″ BGO
1″ BGO
1″ BGO
1 cm Xe #10
Radiator 10
1″ BGO
1″ BGO
1 cm Xe #10
1 cm Xe #10
Radiator 10
Radiator 1
1″ BGO
1″ BGO
1″ BGO
1″ BGO
10 identical modules
Radiator + Xe + Compton scintillators

## Slide 3: 10 modules, N=400 Teflon foils, 20 mm/3 mm gs = 2.1 x 104 Grammage = 17 g/cm2 Length = 12 m
Chart: 4 TeV Pi, K, p - Sum of Compton detectors
| 7.5 | 15.0 | 22.5 | 30.0 | 37.5 | 45.0 | 52.5 | 60.0 | 67.5 | 75.0 | 82.5 | 90.0 | 97.5 | 105.0 | 112.5 | 120.0 | 127.5 | 135.0 | 142.5 | 150.0 | 157.5 | 165.0 | 172.5 | 180.0 | 187.5 | 195.0 | 202.5 | 210.0 | 217.5 | 225.0 | 232.5 | 240.0 | 247.5 | 255.0 | 262.5 | 270.0 | 277.5 | 285.0 | 292.5 | 300.0 | 307.5 | 315.0 | 322.5 | 330.0 | 337.5 | 345.0 | 352.5 | 360.0 | 367.5 | 375.0
Pions | 5348 | 11591 | 16846 | 20090 | 22055 | 22726 | 22809 | 22262 | 20834 | 19968 | 18416 | 16673 | 15208 | 13601 | 12379 | 11130 | 9655 | 8689 | 7709 | 6860 | 5907 | 5334 | 4820 | 4145 | 3766 | 3391 | 3112 | 2960 | 2514 | 2232 | 2122 | 1918 | 1853 | 1710 | 1558 | 1484 | 1451 | 1339 | 1249 | 1110 | 1071 | 1044 | 1023 | 954 | 931 | 868 | 888 | 833 | 804 | 761
Kaons | 10463 | 20917 | 26351 | 28764 | 28688 | 27146 | 25312 | 22865 | 20461 | 17720 | 15828 | 13718 | 12075 | 10252 | 8897 | 7877 | 6935 | 5939 | 5168 | 4614 | 4221 | 3822 | 3414 | 3041 | 2694 | 2478 | 2306 | 2116 | 1928 | 1778 | 1709 | 1620 | 1515 | 1449 | 1370 | 1281 | 1228 | 1148 | 1159 | 1070 | 1015 | 977 | 813 | 881 | 823 | 770 | 739 | 691 | 689 | 661
Protons | 7582 | 15597 | 21417 | 24482 | 25696 | 25426 | 24632 | 23130 | 21265 | 19298 | 17292 | 15467 | 13710 | 12153 | 10777 | 9284 | 8092 | 7077 | 6346 | 5695 | 4870 | 4376 | 3892 | 3503 | 3186 | 2760 | 2605 | 2463 | 2159 | 2124 | 1851 | 1811 | 1572 | 1518 | 1458 | 1370 | 1296 | 1170 | 1208 | 1088 | 976 | 931 | 915 | 875 | 863 | 834 | 782 | 752 | 742 | 696
Chart: 8 TeV Pi, K, p - Sum of Compton detectors
| 7.5 | 15.0 | 22.5 | 30.0 | 37.5 | 45.0 | 52.5 | 60.0 | 67.5 | 75.0 | 82.5 | 90.0 | 97.5 | 105.0 | 112.5 | 120.0 | 127.5 | 135.0 | 142.5 | 150.0 | 157.5 | 165.0 | 172.5 | 180.0 | 187.5 | 195.0 | 202.5 | 210.0 | 217.5 | 225.0 | 232.5 | 240.0 | 247.5 | 255.0 | 262.5 | 270.0 | 277.5 | 285.0 | 292.5 | 300.0 | 307.5 | 315.0 | 322.5 | 330.0 | 337.5 | 345.0 | 352.5 | 360.0 | 367.5 | 375.0
Pions | 5096 | 11403 | 16265 | 19795 | 21917 | 22448 | 22584 | 22136 | 21271 | 19708 | 18140 | 16822 | 15608 | 13909 | 12295 | 11239 | 9922 | 8657 | 7844 | 6865 | 6163 | 5342 | 4969 | 4274 | 3773 | 3552 | 3134 | 2978 | 2596 | 2386 | 2138 | 2031 | 1902 | 1606 | 1609 | 1511 | 1412 | 1285 | 1229 | 1192 | 1127 | 1030 | 961 | 959 | 940 | 863 | 826 | 787 | 809 | 738
Kaons | 7400 | 15370 | 20824 | 24091 | 25132 | 25594 | 24488 | 23094 | 21340 | 19465 | 17225 | 15446 | 14083 | 12179 | 10731 | 9443 | 8219 | 7256 | 6395 | 5519 | 4976 | 4560 | 4005 | 3589 | 3199 | 2857 | 2658 | 2422 | 2200 | 2164 | 1918 | 1781 | 1592 | 1531 | 1470 | 1380 | 1257 | 1194 | 1136 | 1131 | 1056 | 1026 | 961 | 886 | 855 | 826 | 785 | 750 | 695 | 674
Protons | 5727 | 12285 | 17207 | 20939 | 22848 | 23232 | 23080 | 22361 | 21273 | 20013 | 18090 | 16326 | 15097 | 13279 | 12108 | 10711 | 9489 | 8336 | 7320 | 6619 | 5829 | 5220 | 4543 | 4079 | 3843 | 3288 | 3012 | 2630 | 2499 | 2188 | 2032 | 1970 | 1788 | 1649 | 1551 | 1434 | 1370 | 1258 | 1240 | 1131 | 1140 | 1055 | 1007 | 919 | 886 | 875 | 827 | 757 | 740 | 759
Chart: 1 TeV Pi, K, p - Sum of Compton detectors
| 7.5 | 15.0 | 22.5 | 30.0 | 37.5 | 45.0 | 52.5 | 60.0 | 67.5 | 75.0 | 82.5 | 90.0 | 97.5 | 105.0 | 112.5 | 120.0 | 127.5 | 135.0 | 142.5 | 150.0 | 157.5 | 165.0 | 172.5 | 180.0 | 187.5 | 195.0 | 202.5 | 210.0 | 217.5 | 225.0 | 232.5 | 240.0 | 247.5 | 255.0 | 262.5 | 270.0 | 277.5 | 285.0 | 292.5 | 300.0 | 307.5 | 315.0 | 322.5 | 330.0 | 337.5 | 345.0 | 352.5 | 360.0 | 367.5 | 375.0
Pions | 8168 | 16736 | 22758 | 25634 | 26610 | 26071 | 25173 | 22997 | 21101 | 18967 | 16811 | 15183 | 13375 | 11556 | 10319 | 8910 | 7832 | 6980 | 6031 | 5352 | 4607 | 4257 | 3718 | 3411 | 3116 | 2761 | 2483 | 2344 | 2017 | 1960 | 1831 | 1694 | 1509 | 1523 | 1367 | 1314 | 1228 | 1186 | 1132 | 1009 | 1005 | 966 | 877 | 899 | 828 | 799 | 824 | 698 | 691 | 666
Kaons | 16903 | 29482 | 34554 | 34940 | 32167 | 28307 | 24633 | 21227 | 18082 | 14970 | 12730 | 11030 | 9250 | 8039 | 6813 | 6032 | 5361 | 4686 | 4246 | 3658 | 3424 | 2974 | 2787 | 2484 | 2290 | 2223 | 1961 | 1835 | 1805 | 1611 | 1557 | 1364 | 1362 | 1270 | 1213 | 1154 | 1116 | 1043 | 1007 | 932 | 925 | 930 | 837 | 835 | 770 | 784 | 704 | 679 | 643 | 661
Protons | 14602 | 26532 | 31678 | 32818 | 31290 | 28699 | 25153 | 22223 | 18733 | 16013 | 13789 | 11913 | 10112 | 8770 | 7601 | 6539 | 5711 | 5206 | 4440 | 3935 | 3596 | 3123 | 2858 | 2656 | 2465 | 2194 | 2047 | 1911 | 1719 | 1650 | 1560 | 1406 | 1423 | 1311 | 1243 | 1211 | 1077 | 1099 | 1013 | 986 | 946 | 885 | 813 | 873 | 805 | 767 | 687 | 718 | 649 | 651
E (TeV) | gs,p | gs,K | gs,p± | gs,po
1 | 1.07E+03 | 2.02E+03 | 7.16E+03 | 7.41E+03
2 | 2.13E+03 | 4.05E+03 | 1.43E+04 | 1.48E+04
4 | 4.26E+03 | 8.10E+03 | 2.87E+04 | 2.96E+04
8 | 8.53E+03 | 1.62E+04 | 5.73E+04 | 5.93E+04

## Slide 4: gs = 3.4 x 104 Grammage = 22 g/cm2 Length = 6 m
Chart: 8 TeV Pi, K, p - Sum of Compton detectors
| 7.5 | 15.0 | 22.5 | 30.0 | 37.5 | 45.0 | 52.5 | 60.0 | 67.5 | 75.0 | 82.5 | 90.0 | 97.5 | 105.0 | 112.5 | 120.0 | 127.5 | 135.0 | 142.5 | 150.0 | 157.5 | 165.0 | 172.5 | 180.0 | 187.5 | 195.0 | 202.5 | 210.0 | 217.5 | 225.0 | 232.5 | 240.0 | 247.5 | 255.0 | 262.5 | 270.0 | 277.5 | 285.0 | 292.5 | 300.0 | 307.5 | 315.0 | 322.5 | 330.0 | 337.5 | 345.0 | 352.5 | 360.0 | 367.5 | 375.0
Pions | 262 | 486 | 629 | 804 | 944 | 975 | 1071 | 1133 | 1213 | 1329 | 1328 | 1272 | 1335 | 1351 | 1287 | 1203 | 1221 | 1172 | 1026 | 1014 | 1043 | 892 | 823 | 815 | 745 | 725 | 655 | 617 | 561 | 515 | 483 | 452 | 450 | 406 | 351 | 354 | 310 | 283 | 266 | 248 | 251 | 194 | 207 | 215 | 170 | 164 | 168 | 162 | 158 | 149
Kaons | 751 | 1009 | 1306 | 1458 | 1558 | 1540 | 1626 | 1606 | 1567 | 1627 | 1538 | 1471 | 1361 | 1247 | 1198 | 1066 | 997 | 968 | 832 | 813 | 693 | 677 | 558 | 553 | 555 | 462 | 420 | 386 | 360 | 353 | 339 | 295 | 272 | 262 | 262 | 221 | 217 | 233 | 232 | 207 | 177 | 185 | 130 | 178 | 154 | 153 | 127 | 115 | 113 | 117
Protons | 396 | 610 | 810 | 949 | 1088 | 1154 | 1233 | 1407 | 1384 | 1409 | 1454 | 1444 | 1353 | 1359 | 1250 | 1155 | 1152 | 1106 | 937 | 1004 | 901 | 865 | 788 | 720 | 660 | 615 | 558 | 539 | 493 | 450 | 436 | 404 | 338 | 339 | 336 | 299 | 289 | 271 | 235 | 230 | 224 | 233 | 207 | 179 | 182 | 191 | 159 | 144 | 129 | 127
8 TeV Teflon – 10 modules, 200 foils, 50 mm/3 mm, 2.54 cm BGO
Last detector only.

## Slide 5
Chart: 1 TeV Pi, K, p - Sum of Compton detectors
| 7.5 | 15.0 | 22.5 | 30.0 | 37.5 | 45.0 | 52.5 | 60.0 | 67.5 | 75.0 | 82.5 | 90.0 | 97.5 | 105.0 | 112.5 | 120.0 | 127.5 | 135.0 | 142.5 | 150.0 | 157.5 | 165.0 | 172.5 | 180.0 | 187.5 | 195.0 | 202.5 | 210.0 | 217.5 | 225.0 | 232.5 | 240.0 | 247.5 | 255.0 | 262.5 | 270.0 | 277.5 | 285.0 | 292.5 | 300.0 | 307.5 | 315.0 | 322.5 | 330.0 | 337.5 | 345.0 | 352.5 | 360.0 | 367.5 | 375.0
Pions | 35643 | 27768 | 27491 | 26046 | 23899 | 22007 | 20254 | 18305 | 16582 | 14955 | 13345 | 11773 | 10600 | 9453 | 8267 | 7509 | 6601 | 5949 | 5483 | 4777 | 4270 | 3828 | 3457 | 3081 | 2927 | 2611 | 2395 | 2248 | 2085 | 1949 | 1734 | 1733 | 1512 | 1479 | 1385 | 1234 | 1243 | 1092 | 1073 | 975 | 989 | 992 | 936 | 864 | 774 | 765 | 760 | 690 | 675 | 664
Kaons | 47338 | 34039 | 32395 | 29640 | 25955 | 22714 | 19603 | 17391 | 14437 | 12623 | 11074 | 9852 | 8378 | 7631 | 6601 | 5930 | 5321 | 4633 | 4221 | 3971 | 3421 | 3221 | 2989 | 2666 | 2407 | 2191 | 2142 | 1896 | 1873 | 1664 | 1566 | 1461 | 1427 | 1335 | 1263 | 1099 | 1106 | 1095 | 1053 | 954 | 833 | 862 | 805 | 762 | 771 | 739 | 672 | 680 | 641 | 560
Protons | 46584 | 33972 | 32163 | 29450 | 26134 | 22720 | 19579 | 17368 | 14785 | 12795 | 11110 | 9672 | 8570 | 7519 | 6685 | 5949 | 5339 | 4806 | 4247 | 3831 | 3527 | 3144 | 2948 | 2703 | 2475 | 2281 | 2126 | 1934 | 1830 | 1667 | 1592 | 1507 | 1434 | 1315 | 1223 | 1103 | 1159 | 1029 | 1048 | 974 | 922 | 851 | 845 | 736 | 717 | 709 | 715 | 695 | 617 | 634
Chart: 8 TeV Pi, K, p - Sum of Compton detectors
| 7.5 | 15.0 | 22.5 | 30.0 | 37.5 | 45.0 | 52.5 | 60.0 | 67.5 | 75.0 | 82.5 | 90.0 | 97.5 | 105.0 | 112.5 | 120.0 | 127.5 | 135.0 | 142.5 | 150.0 | 157.5 | 165.0 | 172.5 | 180.0 | 187.5 | 195.0 | 202.5 | 210.0 | 217.5 | 225.0 | 232.5 | 240.0 | 247.5 | 255.0 | 262.5 | 270.0 | 277.5 | 285.0 | 292.5 | 300.0 | 307.5 | 315.0 | 322.5 | 330.0 | 337.5 | 345.0 | 352.5 | 360.0 | 367.5 | 375.0
Pions | 21431 | 19034 | 20032 | 20173 | 19789 | 19430 | 18831 | 18071 | 17583 | 16939 | 15571 | 14517 | 13248 | 11926 | 11007 | 10019 | 9091 | 8219 | 7478 | 6644 | 5935 | 5277 | 4856 | 4427 | 4061 | 3715 | 3326 | 2986 | 2706 | 2560 | 2364 | 2188 | 2061 | 1912 | 1654 | 1673 | 1555 | 1369 | 1312 | 1246 | 1197 | 1052 | 987 | 979 | 877 | 880 | 826 | 864 | 757 | 753
Kaons | 33370 | 26929 | 26798 | 25457 | 23593 | 21774 | 20228 | 18541 | 16727 | 15462 | 13808 | 12537 | 10957 | 9666 | 8580 | 7738 | 6875 | 6101 | 5321 | 4970 | 4487 | 3947 | 3662 | 3332 | 2931 | 2697 | 2464 | 2323 | 2035 | 1983 | 1744 | 1656 | 1623 | 1458 | 1379 | 1310 | 1219 | 1178 | 1162 | 1026 | 963 | 935 | 914 | 859 | 785 | 794 | 763 | 748 | 712 | 692
Protons | 25876 | 21990 | 22434 | 22338 | 21424 | 20679 | 19446 | 18484 | 17676 | 16283 | 15431 | 13946 | 12543 | 11162 | 10126 | 9099 | 8216 | 7331 | 6557 | 5905 | 5245 | 4845 | 4366 | 3953 | 3447 | 3213 | 2933 | 2713 | 2377 | 2215 | 2116 | 1956 | 1765 | 1637 | 1562 | 1486 | 1346 | 1222 | 1147 | 1136 | 1072 | 1031 | 980 | 923 | 881 | 835 | 828 | 731 | 738 | 689
10 modules, N=200 Al foils, 40 mm/4 mm gs = 4 x 104 Grammage = 22 g/cm2 Length = 8 m