## Slide 1
Time response simulation of a “shashlyk”-type calorimeter as applied to ECAL MPD / NICA.
A.V.Skobliakov, V.V. Kulikov, S.A. Bulychjov, A.V,Kantsyrev M. A. Martemianov, M.A.Matsyuk, I.A. Tyapkin
ITEP
07.10.2020

## Slide 2
Geometry of electromagnetic calorimeter (ECAL)
Rin = 1.72 m, Rout = 2.21 m, L = 6 m
Zlocal – axis
41.5 cm
Total number of towers: 38400
Each tower has 210 Pb (h = 0.3 мм) plates and
211 (FscScint - C9H10 , h = 1.5 мм)
Weight: 60 t
One tower
FscScint - C9H10

## Slide 3
Simulation model
Model (“shashlyk” type)
WLS Fiber Kuraray Y-11(200)
C9H10, density = 1.03 g/cm3
Ref. coeff. = 1.58
Absorption length = 210 cm
25 cm
Fibers
0.575 mm
0.599 mm
n = 1.59
n = 1.42
Photodetector
place*
*6x6 mm2 MPPC Hamamatsu S13360-6025PE (57600 cells)

## Slide 4
Setting of fibers absorption lengths
*M.David et al. Nucl.Phys.B Proc.Suppl. 61 (1998) 106-111
The accounting of absorption of photons in cladding

## Slide 5
Determination of TiO2 paint reflection coefficient
flash of photons was distributed uniformly inside the scintillator
only the sides of plate were painted
Initial intensity – 107 photons
Event is recorded when photon reached any fiber
IHEP group made panted/no painted tests with TiO2 paint and found a 1.6-fold increase in light yield

## Slide 6
Signal relative output on fibers as function of reflection coefficient of paint

## Slide 7
Signal relative output on fibers at different method of painting

## Slide 8
Relative output as function of reflection coefficient of paint and time collection on fibers
Event is recorded when photon reach any fiber
Initial intensity – 107 photons
Optical contact
No optical contact

## Slide 9
Relative output as function of reflection coefficient of paint and time collection on detector
Event was recorded when photon reached detector
Initial intensity – 107 photons
distance between scintillator and detector – 25 cm
Ref. coeff. of paint = 0.8
Optical contact
No optical contact

## Slide 10
Signal at detector
6x6 mm2 (57600 cells)
distance between end of fibers and detector 0.3 mm
number of initial photons 2×109
Flash in the center of the scintillator
Volume flash
In realistic case 3 GeV electron can produce 10^7 photons in scintilator of tower and 7.5 photons on MPPC cell. They can produce in average 1 photoelectron ( quantum efficiency = 0.25 and formfactor = 0.5). This means that the probability of missing photons is high, which will lead to nonlinearity of the energy response of the calorimeter.
~1500 ph. per cell

## Slide 11
Summary
Reflection coefficient of paint = 0.8
Optical contact is ON |  |  | 
On fibers |  | On detector | 
Rel. output (ref. = 0.8) | Collection time | Rel. output (ref. = 0.8) | Collection time
6 % | 0.5 ns | 0.4 % | 0.9 ns
Optical contact is OFF |  |  | 
On fibers |  | On detector | 
Rel. output (ref. = 0.8) | Collection time | Rel. output (ref. = 0.8) | Collection time
24.9 % | 1.65 ns | 1.78 % | 2 ns
The relative light output is 4 times higher, but light collection time is 2 times longer

## Slide 12
Results
The detailed simulation of light collection was performed for «shashlyk» type calorimeter, which was created in frame of MPD/NICA project.
It was shown that the quality and reflection coefficient of light from the surface of scintillator plates contribute the high uncertainty to the total light output.
In optimal case the collection of light at detector is about 2 %, which lead to the high probability of two photon hitting into the one cell of the photodetector and to non-linearity of energy response of calorimeter with GeV photon energy. However more real estimation of non-linearity can be obtained only taking into account simulation of producing of electromagnetic shower and its distribution between towers.
The estimation of time resolution will be done in future work.
Supported by RFBR grant # 18-02-40054