## Slide 1: Current Tendences in the Development of Neutron and X-ray Detectors for Common Use
V.I. Mikerov, A.S. Sviridov , D.I. Yurkov
All-Russia Research Institute of Automatic by N. L. Duchov
National Research Nuclear University MEPhI (Moscow Engineering Physics Institute)

## Slide 2
The report is a brief review of activities of National Research Nuclear University “MEPhI” and Federal State Unitary Enterprise “VNIIA” in the development of radiation detectors
The development of state-of-the-art radiation detectors decidedly broadens potentials of nuclear techniques in a wide range of applications

## Slide 3: Line of VNIIA activities in the field of radiation detection
Imaging detectors for neutron and X-ray radiography and tomography
Imaging detectors for localization and identification of radiation sources
Multi-energy X-rays (gamma) sensors
Radiation detectors for well-logging devices
Electrometric neutron sensors

## Slide 4: Imaging detectors for neutron and X-ray radiography and tomography
An innovative imaging system conformed to neutron source in combination with a sophisticated software could provide appropriate productivity and achievable results in terms of testing quality

## Slide 5: Optical arrangements of luminescent CCD-detectors for X-ray, thermal & fast neutrons
1 – CCD-matrix
2 – scaling lens
3 – image intensifier
4 – lens or taper
5 – optical filter 6 – mirror
7 – converter
400 mm
4
7
3
2
1
3
4
2
1
6

## Slide 6: Optical arrangements of luminescent CCD-detectors for a conical beam of fast neutrons
9
8
7
6
5
4
2 3
1
sample
6 7 8 9
3
1
2
4
sample
1 mm
Optics transfers only scintillation photons propagating along radiation rays emitted by a “point” like source
1 – fast neutron source
2 – converter
3 – condenser
4 – mirror
5 – aperture
6 – lens
7 – image intensifier
8 – scaling lens
9 – CCD-matrix

## Slide 7: Detector for imaging X-ray and fast neutrons simultaneously
1 – CCD-matrix
2 – scaling lens
3 – image intensifier
4 – lens
5 – optical filter 6 – mirror
7 – composite converter
7
3
2
6
1
4
5
1 - neutrons
2 – X-ray
X-ray converter
fast neutron
converter
1
2
3
Images produced at the display surface of the screen come into view in different regions of visible spectrum. Optical filters allow to separate them and register independently

## Slide 8: Detectors on the basis of Imaging Plates (IP)
1. Cu - converter
e+
n0
γ
IP-plates
p
reader
n0
2. PE - converter
2 types
(Еthr >11MeV)
1 – imaging plates
2 – lead screen
3 – PE converter
X - ray
n0
1
3
2

## Slide 9
n
Imaging with a portable fast neutrons generator

## Slide 10
Imaging detectors for detection and identification of radiation sources
To prevent smuggling and illegal traffic

## Slide 11: Imaging detectors for detection and identification of fast neutron sources
0,1
1
10
100
-7,5
-6,5
-5,5
-4,5
-3,5
-2,5
-1,5
-0,5
0,5
1,5
2,5
3,5
4,5
5,5
6,5
7,5
X, cm
S
thermal
/ S
fast
fission
3 MeV
14 MeV
“LINE” – detector
(Localization and Identification of Neutron Emitters)

image intensifier
fiber optical
fast neutron converter
imaging matrix for thermal
neutrons
CCD-matrix


600
700
800
900
1000
1100
1200
1300
1400
1500
1600
-7.5
-6.5
-5.5
-4.5
-3.5
-2.5
-1.5
-0.5
0.5
1.5
2.5
3.5
4.5
5.5
6.5
7.5
S
2
90
60
30
0
The detector operation is based on imaging both fast neutrons of the source and thermal neutrons produced in the fiber optical screen
due to fast neutrons moderation

## Slide 12: Imaging detectors for localization and identification of neutron and gamma sources
WLS read-out
The number of read-out channels
is much less than the number of
scintillators
X
Y
Z
radiation
Isotropy of the response function (automatic operation)
Capability to register both neutrons&gamma
and to discriminate them
Simultaneous acquisition of: - spatial (3-D) distributions
- time distributions
amplitude distributions
More capabilities to discriminate background radiations

## Slide 13: Source localization and identification by “electronic” collimation
Neutron source is identified by
primary neutron energy
S
En=Ep1 + En' = Ep1 + m(S/t)2/2
n
Image of a monodirectional source of fission neutrons
X, Y - normalized projections of the vector pointing
at the source location from the assembly center
Source position is localized by density of intersection
points of conical surfaces

## Slide 14: Concept of Multi-Energy X-ray (Gamma) Sensors for energy range 10 кэВ – 1 Мэв
Response function (simulation)
Based on the relationship between the spatial distribution of scintillation signal
generated in a scintillation plate and the radiation spectrum
linear position-sensitive
photoreceiver
electronics
collimator
PS CaF2 ZnO CsI BGO
X-ray

## Slide 15: Detectors for well-logging devices
  Neutron well-logging tools have been used to measure physical characteristics of geological formations for many years
  Spatially resolved data provide considerable additional information as compared to the data obtained at fixed distances (at two, as a rule)

## Slide 16: Detectors concept for well-logging devices Position-sensitive detector for thermal neutrons
4
А
А
4
6
5
5
2
Optical waveguide decreases the reflection number more than
by order of magnitude
1 – scintillator
2 – reflector
3 – optical waveguide
4 – photomultiplier
5 – ADC
6 – controller
А-А
3
1
2
1
3
2
Li glass
Axial position of neutron interaction is determined by
relation of signals produced at the opposite ends of the scintillator
1 mm

## Slide 17: Detectors concept for well-logging devices Position-sensitive detector for thermal, epithermal and fast neutrons
5
А-А
6
7
1 fibre-optical scintillator for thermal neutrons
2 – fibre-optical taper
3 – position sensitive photomultiplier
4 – optical connector
5 thermal neutron absorber
6 fibre-optical scintillator for thermal neutrons
7 hydric fibre-optical scintillator for fast neutrons
1
2
2
4
4
А
А
3
3
Axial position of neutron interaction is determined by
relation of signals produced at the opposite ends of
a luminescent fiber practically at the same time
Angular position is determined by the responded elements of
position sensitive photomultiplyers

## Slide 18: Electrometric neutron sensors concept Design principle
1 - emitter of charged particles
2 - absorber of charged particles
3, 4. - springing elements
F - Coulomb force
n0
3
1
2
3
F
Neutrons hitting the emitter (1) cause nuclear reactions which result in emitting charged particles
Some of them are accumulated in the absorber (2)
Electric field and electrostatic attraction force between the emitter and the absorber appear and increase when the sensor is exposed to neutrons
Millikan R.A., Cameron G.H.
1928
A prototype - spherical electroscope

## Slide 19: Efficiency of electrons generation in Gd by thermal neutrons (simulation)
layer thickness, m
e-/n0

## Slide 20: Efficiency of electric charge generation by fast neutrons (simulation)
Neutron energy, MeV | Material | 
 | B-11 | Ca-40
1 | 3.2E-5 | 8.3E-7
1,5 | 6.6E-5 | 1.3E-6
2,5 | 8.7E-5 | 1.2E-5
4 | 6.4E-5 | 2.4E-5
6 | 8.5E-5 | 1.6E-4
10 | 8.5E-5 | 3.8E-4
14,5 | 1.7E-4 | 4.1E-4
Maximum charge output at: d  100 m for В-11 and d  1500 m for Са-40

## Slide 21: Measured quantities
Emitter and absorber bridging frequency
Emitter or/and absorber displacement
Elastic element deformation
Charge and electrostatic force values
Electric field intensity in the gap

## Slide 22: Distinctive features
Simple design
No radioactive materials
No limitations on fluence and flux density
Low-sensitive to electromagnetic noise
No external power supply for some designs
Non-electrical detection threshold

## Slide 23: Conclusion
At the moment the progress in the radiation detection is conditional upon technological achievements in the development of materials possessing in particular high luminosity, sensitivity, spatial and/or spectral resolution, capable of detecting radiation at severe environment especially while well-logging

## Slide 24
THANK YOU FOR YOUR ATTENTION !
Winter comes soon