## Slide 1: New detector for studies of cumulative processes in hadron collisions in NA61(SHINE) at SPS.
T.Lazareva for NA61(SHINE)
Saint-Petersburg State University
The 2nd International Conference on Particle Physics and Astrophysics
October 10-14, 2016

## Slide 2: Outline
Physics motivation
  Area of interest
  Particle yield estimations
Detector requirements
Cumulative measurements in NA61(SHINE)
GEANT4 simulation
Conclusion

## Slide 3: Introduction
Cumulative effect - production of particles from nuclei in a region, kinematically forbidden for reactions with free nucleons.
Classical explanation – flucton.
Ref.
1. D.I. Blochintzev. In: ZhETF 33 (1957), p. 1295.
2. M.A.Baldin, Kratkie soobshchenia po fizike, 1971, №1, p35.

## Slide 4: Main features.
Scaling law;
Exponential dependence of inclusive cross section on the cumulative particle momentum;
Inclusive cross section decrease with emission angle growth
Cumulative number – number of participants.
Bigger flucton Less cross section.
Ref.
1. V.S. Stavinsky, Physics of Elementary Particles and Atomic Nuclei, 1979, v.10

## Slide 5: Theory of cumulative particles. Classical explanation.
Large distance(nuclear): bump at 0.3÷0.7 GeV/c in cumulative proton cross section due to the pion rescattering;
Nucleon coalescence model(light fragments);
Quark-parton model:
  Fast quark fragmentation
  Quark coalescence
Ref.
V.V. Vechernin M.A. Braun. In: Sov. J. Nucl. Phys. 43 (1986), p. 1016. and etc.
N.A. Nikiforov, Phys. Rev. C 22 (1980), p. 700.; I.M. Belyaev et al. In: Yad. Fiz 56 (1993), p. 135.; V.V. Ammosov et al. In: Phys. Atom. Nucl 76 (2013), p. 1213.;

## Slide 6
Pion production in NN→NNπ reaction.
– initial stage,
– intermediate stage,
– final stage.
Ref.
G.M. Zinovjev M.I. Gorenstein. In: Phys. Lett. B 67 (1977), p. 100.. V.P.Shelest M.I. Gorenstein
G.M.Zinovjev. In: Yad. Fiz. 26 (1977), p. 788., A. Motornenko, M. I. Gorenstein arXiv:1604.04308 [hep-ph]
Comparison of calculated cross section with experimental data
Theory of cumulative particles. Fireball models.

## Slide 7
Well investigated: up to the 1.8 GeV/c
Momentum range: above 1.5 GeV/c.
Correlations between cumulative particle and particles in non cumulative region.
Area of interest.
Ref.
V.S. Stavinsky. In: Phys. of Elem. Part. and Atom. Nucl 10 (1979), A.M. Baldin A.A. Baldin. In: Phys.Part.Nucl. 29 (1998), Yu.D. Bayukov et al. In: Sov. J. Nucl. Phys. 39 (1984), p. 938, etc.

## Slide 8
Ref.
V.V.Ammosov et al. Yadernaya Fizika I Inzhiniring 4 (2013)773–778
Estimation of the particle yield.
A - atomic mass;
Na - Avogadro constant;
ρ - target density, t is the target thickness;
ΔP, ΔΩ - setup momentum and solid angle acceptances;
Nprot - total number of protons passed through the target;
-detector effitiency (here 100%);
-should be taken from the experimental data;
N - number of registered particles at the given momentum.

## Slide 9
General approximations:
Inclusive cross section depends on momentum as
Inclusive cross section weakly depends on A;
Inclusive cross section depends on emission angle as:
;
Target: 208Pb, t=1mm;
Nprot=106
All parameters obtained from experimental distributions.
Ref.
V.S. Stavinsky, Physics of Elementary Particles and Atomic Nuclei, 1979, v.10;
Y.D Bayukov, Phys.Rev.C, 1979, v.20, iss.2
Estimation of the particle yield.

## Slide 10
Estimation of the particle yield.
Ref.
1. Yu.D. Bayukov et al. In: Sov. J. Nucl. Phys. 39 (1984), p. 938.
We could expect cumulative particles with high momentum!

## Slide 11: Detector requirements.
Cumulative particles – kinematically forbidden region: experiments with fixed target, backward hemisphere;
Low cross section – minimal noise, high luminosity;
Particle identification, which includes track and momentum reconstruction;
Vertex reconstruction;
Compact sizes.
NA61(SHINE) – optimal setup for the investigations!
Cumulative effect – due to the forming QGP droplet => close to the main purpose.

## Slide 12: Cumulative measurements in NA61
Cumulative detector
+Target
+VD

## Slide 13: Tracking system
Could be based on ALICE Inner Tracking System.
Upgrade of the ALICE inner tracking system is based on using silicon pixel detectors of a new generation.
Support structure for the Inner barrel of the ALICE ITS could be used for cumulative tracker, in case of vertical installation.
Ref.
1. ALICE Collaboration. In: J. Phys. G: Nucl. Part. Phys. 41, 087002 (2014).

## Slide 14: Particle identification.
Low energies:
Silicon double-sided strip detectors for particle identification up to the 0.5 – 0.8 GeV/c + additional tracking(ALICE strip detectors).
Ref.
1. C. Lippmann. In: Nucl. Instrum. Meth. A666 (2012), pp. 148{172.
High energies:

## Slide 15: Particle identification. Ring Imaging Cherenkov detector.
ALICE HMPID with C6F14 radiator.
Gas radiator: high energy, big size;
Aerogel radiator: low photons yield;
Liquid radiator: optimal photons yield; momentum range up to 4 – 6 GeV/c; ALICE experience.

## Slide 16: Standalone GEANT4 model.
Inner barrel of ALICE ITS (pixel detectors). Mean radii of layers: R = 2.3, 3.1, 3.9 cm.
Strip silicon detectors. Radii of layers(the same as at Vertex Detector):R = 5, 10, 15, 20cm.
Ring Imaging Cherenkov detector: liquid radiator, R=25 cm; photodetector, R=33cm.

## Slide 17: Conclusion
Cumulative experiments at NA61(SHINE) opens opportunity to investigate new unexplored area. Detector geometry and construction that has been proposed above could provide registration of all particles in the area of interest.
Further work will include :
Estimation of the noise level;
Event generator for the cumulative particle (the simplest option);
Simulation in more realistic conditions, geometry and event simulations at SHINE, track reconstruction.
The author of this report from the SPbU acknowledges the support by the Russian Science Foundation research grant 16-12-10176.

## Slide 18: Thank you for your attention!

## Slide 19: Inner size of vertex magnet
All dimensions in
millimeters.
Ref.
1. New Magnetic Field Calculations for NA61. Geoffrey Mills, Los Alamos NL, 9 October, 2012

## Slide 20: Already existing ALICE support structure
 | Inner barrel |  | Outer barrel | 
Inner barrel: 3 layers |  |  |  | 
Outer barrel: 4 layers |  |  |  | 
 | Mean radius, mm | Staves | Mean radius, mm | Staves (2xHalf-stave)
Layer 1 | 23 | 12 | 196 | 24
Layer 2 | 31 | 16 | 245 | 30
Layer 3 | 39 | 20 | 344 | 42
Layer 4 | - | - | 393 | 48
Ref.
1. Technical Design Report for the Upgrade of the ALICE Inner Tracking System

## Slide 21: ALICE ITS upgrade.

## Slide 22: MAPS technology.

## Slide 23: Geant4 simulation for inner layers
Each stave consists of 9 pixel chips. Removal of two staves from each side (back and front) will ensure passage of the beam.
beam
z
y
x
Target
Notes: 23

## Slide 24: View inside the setup
Simulation by: S. Puławski